Background: After each participant has practiced taking a temperature, each will be evaluated in taking the temperature of another group member.

Use: Please make a copy for each participant, and distribute equally to facilitators in each group.

| Evaluation question | Scoring Rubric |  |  |
| --- | --- | --- | --- |
|  | Yes | Partial | No |
| Did the participant turn the thermometer on and ensure device was properly calibrated? Includes battery checks. Partial credit means the participant forgot one step (e.g. the batteries) but performed the rest of the tasks. | 2 | 1 | 0 |
| Did the participant point the thermometer to the correct location on the other person’s head? No partial credit given. | 2 | N/A | 0 |
| Did the participant stand back in the appropriate distance and not right next to the person (i.e., extending arm out)? Offer partial credit if the participant has made an attempt to stand back but not far enough/too far. | 2 | 1 | 0 |
| Did the participant read out the temperature the thermometer measured, and then accurately interpret the result (e.g. if below 35°C retaking, if 35-37.5°C okay, if 37.5°C or higher referred or asked for additional health surveillance measures). Please adjust temperature thresholds per country-specific and disease-specific thresholds. No partial credit. If the participant interprets a higher than normal temperature but below a cutoff—e.g. a measurement of 37°C—as something to measure again or ask questions about, this is accepted still as a right answer as other elements could be involved. | 2 | N/A | 0 |
| Total Points | ___/8 = ___% |  |  |